## Slide 1: Smart Grid Fault Detection and Performance Prediction Using Machine Learning
Data-Driven Insights for Grid Reliability & Efficiency
Presented by: Vikas Upadhyay
Date: 10/09/2025

## Slide 2: Problem Statement
Smart grids must balance system reliability and energy efficiency.
Challenges:
Unexpected transformer faults → outages & costs.
Inaccurate performance metrics → poor resource allocation.
Objective:
Proactive fault detection using classification models.
Accurate efficiency prediction using regression models.

## Slide 3: Dataset Overview
Records: 50,000 entries, 16 features.
Key Features:
Voltage, Current, Power, Reactive Power, Power Factor
Renewable Sources: Solar Power, Wind Power
Grid Supply, Temperature, Humidity, Electricity Price
Targets:
Transformer Fault (Binary Classification).
Power Efficiency (Derived Continuous Variable).

## Slide 4: Dataset Overview

## Slide 5: Data Cleaning & Preprocessing
Converted Timestamp → datetime.
Created Power Efficiency (%):
Efficiency= 100 x Power Consumption/Grid + Solar + Wind​
Handled class imbalance with SMOTE (Fault: 3% → 50%).
Standardized regression features.

## Slide 6: Exploratory Data Analysis (EDA)
Most features show normal or near-normal distribution.
Correlation Heatmap: Features mostly weakly correlated (< 0.3).
Observations:
Faults linked with abnormal voltage fluctuations and current spikes.
Higher renewable share → improved efficiency.

## Slide 7: Classification Models (Fault Detection)
Models tested: Logistic Regression, Decision Tree, Random Forest, Gradient Boosting, AdaBoost, XGBoost, LightGBM, CatBoost.
Evaluation Metrics: Accuracy, F1-Score, ROC-AUC.
Key Results:
Random Forest: Accuracy = 91.8%, ROC-AUC ≈ 0.48.
Gradient Boosting & AdaBoost struggled with imbalanced data.
All models faced difficulty detecting minority class (faults).

## Slide 8: Regression Models (Efficiency Prediction)
Models tested: Linear Regression, Decision Tree, Random Forest, Gradient Boosting, AdaBoost, XGBoost, LightGBM, CatBoost.
Evaluation Metrics: RMSE, MAE, R².
Key Results:
Linear Regression (baseline): R² = 0.76.
Random Forest: RMSE = 0.99, R² = 0.997.
CatBoost: RMSE = 0.57, R² = 0.999 → Best model.

## Slide 9: Final Predictions
Combined predictions include:
Fault Prediction (0/1).
Predicted Power Efficiency (%).

## Slide 10: Observations & Insights
Fault Detection
Severe class imbalance = major challenge.
Faults correlated with abnormal operational patterns.
Efficiency Prediction
Regression models performed exceptionally well (R² > 0.99).
Renewable power strongly contributes to efficiency.

## Slide 11: Statistical Hypotheses
H₀: Faults occur randomly.
Rejected → Linked to voltage/current anomalies.
H₀: Renewable share has no effect on efficiency.
Rejected → Higher renewable input improves efficiency.
H₀: Environment (temperature, humidity) does not affect efficiency.
Partially accepted → Weak correlation.

## Slide 12: Recommendations
Use anomaly detection or time-series models for rare fault prediction.
Collect more fault samples for balanced training.
Enhance real-time monitoring of voltage fluctuations and power factor.
Increase renewable adoption for efficiency gains.
Use predictive modeling to optimize pricing & load balancing.

## Slide 13: Conclusion
Regression models (CatBoost, RF) achieved near-perfect efficiency prediction.
Classification models struggled with rare fault detection.
Project demonstrates the power of ML in smart grid analytics, but highlights the need for better fault modeling approaches.

## Slide 14: The End